## 1. Intro
UAB Hospital and UAB-Highlands Hospital Cleaning and Inspection of Hoods & Vents BID NUMBER H041-25
Request for Proposal
Appendix C
This RFP will cover the procurement of Cleaning and Inspection of Hoods and Vents for UAB Hospital.
UAB is looking for a vendor partner to provide Cleaning and Inspection of Hoods and Vents. The University of Alabama at Birmingham Hospital is looking for a vendor partner to provide bids for the cleaning and inspections of kitchen hoods and ventilation systems for UAB Main Hospital and UAB Highlands Hospital, which consist of 25 or more buildings. The Hospital reserves the right to award this contract by category, all, or none, or to make multiple awards if deemed advantageous and in the Hospitals best interest.
https://www.uab.edu/financialaffairs/doing-business/electronic-bid-bulletin-board
Section | Section Title | Instructions
1 | Intro | This is an introduction/outline of Appendix C of the RFP.
2 | Timeline | Review and Understand
3 | Key | Please refer to this key when reviewing and filling in each section.
4 | Vendor Contact Info | Provide the contact information for a single company representative as instructed.
5 | UAB Requirements | Provide responses and comments as applicable for each section as instructed.
6 | Questionnaire | Provide responses and comments as applicable for each section as instructed.
7 | Implementation Timeline | Please provide an implementation timeline as instructed in this section.
8 | References | Provide references where work of a similar size and nature was performed within the last five (5) years.
9 | Pricing | Fill in this section with proposed pricing. A formal quote must also accompany your RFP submission.
10 | Agreements | Part 1: Review section 3.2(d) of the Request for Proposal and attach any required agreements. Part 2: Vendor will be required to sign the Business Associate Agreement attached to the RFP. Please return a signed copy with your RFP submission.
12 | Value Adds | Review section 3.2c of the Request for Proposal and attach any additional Value Add propositions.
Other:
13 | Customer Facilities | This is a listing of UAB Hospital facilities included in the RFP.
14 | Required Documents | This is a list of documents that are required with your RFP submission.
Please return this Request for Proposal by close of business on the date specified in the Timeline. It is the responsibility of the vendor to ensure that their bid response is received in Hospital Purchasing Department by the opening date/time specified in the Timeline, regardless of the mailing method.

## 2. Timeline
RFP TIMELINE
# | ACTION | OWNER | DATE | TIME
1 | Issue RFP | UABHS | 2025-11-06 | 5:00 PM CDT
2 | Intent to Bid Deadline | Vendor | 2025-11-13 | 5:00 PM CDT
3 | Mandatorty Hospital Walkthrough | UABHS/Vendor | 2025-11-17 | 10:00 AM CDT
4 | Deadline for Formal Questions | Vendor | 2025-11-21 | 5:00 PM CDT
5 | Response to Questions Issued | UABHS | 2025-12-03 | 5:00 PM CDT
6 | Proposals Due to UAB | Vendor | 2025-12-11 | 5:00 PM CDT
7 | RFP Opening | UABHS | 2025-12-12 | 3:00 PM CDT
8 | Supplier Selection (not a hard deadline) | UABHS | 2025-12-19 | 5:00 PM CDT
9 | Contract Go-Live | UABHS/Vendor | 2026-01-01
***Dates are subject to change at UAB's discretion.

## 3. Key
Key
Please refer to this key when reviewing and filling in each section.
Vendor Response Code Key:
S - Standard to Offering | The requirement/specification is standard to the system/product or service offering and does not require an additional fee or subscription.
F - Future Roadmap | The requirement/specification is not currently available but is part of the Vendor's future roadmap.
C - Customization | The requirement/specification is available from vendor but will require an additional fee, subscription, etc.
N - Not Available | The requirement/specification is not available.
Priority Code Key:
R - Required | This is a required specification for the RFP.
L - Love to Have | The specification is not required, but is something UAB would love to have.
K - Like to Have | The specification is not required, but is something UAB would like to have.

## 4. Vendor Contact Info
VENDOR CONTACT INFORMATION
Please provide the contact information for a single reperesentative within your company for this RFP
Vendor Name | Company Address | First Name | Last Name | Phone Number | Email Address

## 5. UAB Requirements
UAB Requirements
Directions: Please note whether you have complied with the listed specifications in your formal proposal by choosing a response in the drop-down menu in column E. Refer to Section 3 of Appendix C for explanation of each response. Please provide comments as requested. If you select "Future Roadmap (F)" or "Not Available (N) " on any response, please provide an explanation in column E. Please answer each section individually and concisely. Do not refer to another section's comments (ex: do not write "please refer to the response for Battery powered mobile units").
# | Requirement | Priority Code | Vendor Response Code | Vendor Comments
General
1 | The vendor agrees to maintain, at its sole expense, insurance as required in the bid specifications and/or other related documents; to name the University and others as additional insured on such policies of insurance; and to provide current certification of such insurance or self-insurance as outlined in the specifications. | R - Required
2 | A Certificate(s) of insurance will be provided to the University before work can commence. The Certificate will evidence all coverage required and specify the terms required as noted below. The Certificate will note the additional insured as required above and will provide for at least 30 days written notice of cancellation or non-renewal to the University. | R - Required
3 | The vendor is to provide a list of three companies or institutions, with contacts, for which they have performed these services. Bids received without these references may not be considered. | R - Required
4 | Exhaust Hood Cleaning: Remove grease buildup from interior and exterior surfaces of kitchen hoods.Clean filters(baffle,mesh,or cartrige)and replace if needed. Inspect seams, welds, and grease collection trays for leaks or domage. Exhaust Dust Cleaning: Scrape and/or pressure-wash interior ductwork to bare metal. Clean both horizontal and vertical dust runs.Ensure fire-rated access panels are available and resealed after service.Exhaust Fan Cleaning: Remove grease from fan blades, motor housing, and shroud. Clean fan bearings and belts;inspect and tighten if needed.Ensure hinge kits and electrical safety disconnects are functional.Balance fan to prevent vibration damage.Plenum&Grease Containment:Remove grease from plenum and grease troughs.Clean and replace grease cups and drip trays.Inspect roof grease containment systems;replace absorbent pads.System Inspection:Check overall system for compliance with NFPA 96 requirments.Verify adequate access panels for cleaning and inspection.Document condition of hoods,ducts,and fans with before/after photos.Fire Suppression System Interface: Ensure nozzles are free of grease obstructions. Confirm fusible links or detection devices are not grease-clogged.Notify Hospitla Maintenance if issues are observed.Compliance Documentation: Provide post-cleaning service report with photos. Issue NFPA 96 cleaning certificate(tag or sticker)with date next due service.Provide and Maintain inspection log for insurance and AHJ(Authority Having Jurisdiction) | R - Required
5 | The cleaning of hoods and ventilation systems shall be conducted on a 4-week, 6-week, quarterly, & semi-annual basis and in accordance with National Fire Protection Association (NFPA) standard 96 for ventilation control and fire protection of commercial cooking operations, Edition 2011. A certificate detailing the date of the cleaning shall be posted on each hood at each facility. A written report with photos confirming the cleaning and inspection shall be presented to the Hospital Maintenance Department within 5 business days of work completion. | R - Required
6 | All cleaning shall be coordinated with the Hospital Maintenance Department at least two weeks in advance. Coordination will include the exact time and date of the cleaning of each hood and /or location. This advance notification shall include all needs for the shutdown of any applicable electrical or gas systems. | R - Required
7 | Upon completion, UAB reserves the right to inspect the quality of work and request the vendor to return if the hoods or ventilation system have not been cleaned appropriately. A request for remedial cleaning may be made up to 7 business day after initial cleaning and will come at no additional expense to UAB Hospital or UAB Highlands. | R - Required
8 | Vendor will be required to report violation of any kind, including but not limited to system actuation devices, broken Ansul covers, sprinkler heads, fusible links, hood systems parts and computer control panels. | R - Required
9 | All cleanings are to be conducted in accordance with all federal, state, and local laws as well as National Fire Protection Association guidelines and must be a standard acceptable by the City of Birmingham and the State of Alabama Fire Marshals. | R - Required
10 | A report is to be prepared by the vendor and presented to the Hospital Maintenance department. Any damages and/or violations are to be documented with photos and a corrective plan of action is to be provided with this report. | R - Required
11 | Pricing should be quoted per asset per the frequency requested | R - Required
12 | Vendors will be given a walkthrough of hospital and shown assets in question | R - Required
Note on E5: Vendor Response Code Key: S - Standard to Offering F - Future Roadmap C - Customization N - Not Available

## 6. Questionaire
QUESTIONAIRE
Directions: Please review the questions in column C and provide your response as requested in Column D. We also ask that if you answer "No" on any response that you provide your reason for being unable to comply/respond. Please answer each section individually and concisely. Do not refer to another section's comments (ex: do not write "please refer to the response for Battery powered mobile units").
# | Question | Vendor Comments
1 | Will vendor be using any subcontractor to supplement workload? If so, supply subcontractor information
2 | Provide a brief overview of your company’s history. Include year business was founded, number of employees, locations, number of years offering/supporting the proposed solution.
3 | How many customers do you currently have utilizing the services proposed in your RFP submission?
4 | What differentiates your company from other companies in the industry?
5 | Describe your plan for measuring, monitoring and enhancing customer satisfaction.
6 | Describe your experience performing in accordance with Federal, The Joint Commission, State and other local laws and regulations.
7 | If selected, how quickly will you be able to provide/implement services?
8 | Are there any facility requirements that UAB will need to provide? If yes, please list these in the vendor comments.
9 | Does your company have any pending mergers and/or acquisitions that could change your business model.
10 | Describe your firm’s understanding of being flexible regarding short notice, off-hours, to meet UAB's needs for providing the products / services detailed in the RFP. Include in your description the ability to work during non-normal business hours (after 5 pm Monday – Friday and weekends).

## 7. Implementation Timeline
Implementation Timeline / Transition Plan
Please insert an estimated Implementation Timeline and detailed transition plan.

## 8. References
References
Instructions: Provide at least three (3) references where work of a similar size and nature was performed within the last five (5) years.
Reference/ Facility Name | Contact Name | Contact Title | Phone Number | Email Address | Hospital Bed Count | Nature of Work

## 9. Pricing
Pricing
Instructions: Please fill in this section with proposed pricing. You may add additional fees as required under the Other Fees" A formal quote must accompany your RFP submission.
Asset# | Location | Location 2 | Price Per Asset per Cleaning | Frequency
1400026 | Kitchen Hood -JT 101-Main Production Hood | Jefferson Tower – 1st Floor |  | Every 12 Week(s)
1400027 | Kitchen Hood – NP 2nd Floor 2370 -Back Grill | North Pavilion – 2nd Floor – 2365 – FOOD PREP |  | Every 4 Week(s)
1400028 | Kitchen Hood – NP 2nd Floor 2365 – Main Kitchen Grill & Fryer | North Pavilion – 2365 – FOOD PREP |  | Every 4 week(s)
1400029 | Kitchen Hood NP 2nd Floor- Main Production | North Pavilion – 2365 – FOOD PREP |  | Every 4 week(s)
1400047 | Kitchen Hood NP -02-365-Grill (front) | North Pavilion – 2365 – FOOD PREP |  | Every 4 week(s)
1400048 | Kitchen Hood - NP 2nd Floor - Sauté Station (Back) | North Pavilion – 2365 – FOOD PREP |  | Every 4 week(s)
1400049 | Kitchen Hood - NP 2nd Floor - Sauté Station (Front) | North Pavilion – 2365 – FOOD PREP |  | Every 4 week(s)
1400177 | Kitchen Hood – WP Main Kitchen Bakery Hood | West Pavilion – Basement – P029-Kitchen |  | Every 4 week(s)
1400178 | Kitchen Hood – WP Main kitchen West Hot Food Production | West Pavilion – Basement – P029-Kitchen |  | Every 4 week(s)
1400179 | Kitchen Hood-WP Main kitchen – East Hood. Fed from WP-B-EH | West Pavilion – Basement – P029-Kitchen |  | Every 4 week(s)
1400025 | Kitchen Hood-JT 1575-Research Kitchen Hood | Jefferson Tower – 15th Floor-1575B-FOOD SERVICES |  | Every 6 Months
1400163 | Kitchen Hood – Food Prep – Main Kitchen HGDL-03-02 | Highlands Hospital – 3rd floor – 3627 – FOOD PREP |  | Every 6 Week(s)
1400164 | Kitchen Hood-Main Kitchen Food Prep HGLD -03-01 | Highlands Hospital – 3rd floor – 3627 – FOOD PREP |  | Every 6 Week(s)
Item Description | Price
Other:

## 10. Agreements
AGREEMENTS
Please review section 3.2d of the Request for Proposal. Vendor must provide a copy of any End-User agreements that will be required before implementation with RFP submission.

## 12. Value Adds
VALUE ADDS
Please review section 3.2c of the Request for Proposal and insert any Value-Add propoals here.

## 13. Customer Facilities
Customer Facilities
The following is a listing of UAB Hospital facilities included in the RFP.
Facility Name | Address
UAB Hospital (Main) | 619 19th Street South Birmigham, AL 35233
UAB Hospital - Highlands | 1201 11th Ave South Birmingham, AL 35205
Asset# | Location | Location 2 | Frequency
1400026 | Kitchen Hood -JT 101-Main Production Hood | Jefferson Tower – 1st Floor | Every 12 Week(s)
1400027 | Kitchen Hood – NP 2nd Floor 2370 -Back Grill | North Pavilion – 2nd Floor – 2365 – FOOD PREP | Every 4 Week(s)
1400028 | Kitchen Hood – NP 2nd Floor 2365 – Main Kitchen Grill & Fryer | North Pavilion – 2365 – FOOD PREP | Every 4 week(s)
1400029 | Kitchen Hood NP 2nd Floor- Main Production | North Pavilion – 2365 – FOOD PREP | Every 4 week(s)
1400047 | Kitchen Hood NP -02-365-Grill (front) | North Pavilion – 2365 – FOOD PREP | Every 4 week(s)
1400048 | Kitchen Hood - NP 2nd Floor - Sauté Station (Back) | North Pavilion – 2365 – FOOD PREP | Every 4 week(s)
1400049 | Kitchen Hood - NP 2nd Floor - Sauté Station (Front) | North Pavilion – 2365 – FOOD PREP | Every 4 week(s)
1400177 | Kitchen Hood – WP Main Kitchen Bakery Hood | West Pavilion – Basement – P029-Kintchen | Every 4 week(s)
1400178 | Kitchen Hood – WP Main kitchen West Hot Food Production | West Pavilion – Basement – P029-Kintchen | Every 4 week(s)
1400179 | Kitchen Hood-WP Main kitchen – East Hood. Fed from WP-B-EH | West Pavilion – Basement – P029-Kintchen | Every 4 week(s)
1400025 | Kitchen Hood-JT 1575-Research Kitchen Hood | Jefferson Tower – 15th Floor-1575B-FOOD SERVICES | Every 6 Months
1400163 | Kitchen Hood – Food Prep – Main Kitchen HGDL-03-02 | Highlands Hospital – 3rd floor – 3627 – FOOD PREP | Every 6 Week(s)
1400164 | Kitchen Hood-Main Kitchen Food Prep HGLD -03-01 | Highlands Hospital – 3rd floor – 3627 – FOOD PREP | Every 6 Week(s)
1400176 | Kitchen Hood -WP Main Kitchen – Kettle near bakery | West Pavilion – Basement -P029-Kitchen | INACTIVE
each asset represents 1 hood
14 hoods

## 14. Required Documents
Required Documents
Document Name | Instructions
RFP AGREEMENT | A signed copy of the RFP document must be returned with your submission.
APPENDIX A (Vendor Disclosure Statement, VDS) | Complete the "Vendor Disclosure Statement" (attached to the RFP as Appendix A) and submit a signed copy with RFP response. Failure to provide this document will result in a non-award of the referenced products and/or services.
APPENDIX B (Certification of Compliance with Section Nine of Act 2011-535) | Complete the Certification of Compliance (attached to the RFP as Appendix B) and submit a signed copy with RFP response. Failure to provide this document will result in a non-award of the referenced products and/or services.
APPENDIX C (EXCEL DOCUMENT) | Please complete all sections of Appendix C in the excel document provided. An electronic copy of the completed excel document must be submitted with your RFP submission. Please do not put any password protections on the excel document. You may print out each section of the excel document and include a hard copy with your submission.
IMPLEMENTATION TIMELINE | Please submit an Implementation Timeline.
AGREEMENTS | All license agreements or contracts which must be signed prior to delivery of proposed products and/or service, must be included with the proposal response for review by the Hospital. It is expected that the terms of this RFP will supersede any additional terms of the Vendor. The terms and conditions of any additional agreements must align with the specifications, requirements and terms and conditions of this RFP.
BAA | Vendor will be required to sign the Business Associate Agreement attached to the RFP. Please return a signed copy with your RFP submission.
WARRANTY TERMS | Any warranty terms, other than warranties established by the laws of the State of Alabama, must be explicitly provided in Vendor’s response. If applicable, please provide a copy of warranty terms.
VALUE ADDS | Vendors are encouraged to include additional “Value Propositions” or “Value Adds” which might be in the Hospital’s best interest. Please provide
ADDITIONAL DOCUMENTATION | It is the vendor’s sole responsibility to include in its response sufficient product literature, specifications, and other information necessary to completely describe the products and/or services being offered. All license agreements or, contracts, which must be signed prior to delivery of proposed service, must be included with the proposal for review by the Hospital.